A brief technical overview of Flexible Camera Calibration

by Chuan Sun

12 images of the pattern file with different angles, rotations and tilts are taken, shown as below.

Then grid corners are manually extracted:

Begin the calibration:

According to the paper, the tool first runs the initialization based on the closed-form solution, then it provides optimization using maximum likelihood estimation. The errors are quite big at this stage.

The extrinsic parameters of the camera-centered view:

I tried another round of recomputing corners and then re-calibrating. It can be observed that after recalibration, both uncertainty and errors significantly declined.

The updated extrinsic paramters of the camera-centered view:

The calibration results after recomputing corners:

Calibration results after optimization (with uncertainties):

Focal Length:          fc = [ 9306.23266   7476.69010 ] +/- [ 123.85279   80.13645 ]

Principal point:       cc = [ 2015.50000   1511.50000 ] +/- [ 0.00000   0.00000 ]

Skew:             alpha_c = [ 0.00000 ] +/- [ 0.00000  ]   => angle of pixel axes = 90.00000 +/- 0.00000 degrees

Distortion:            kc = [ -2.44052   37.64722   -0.01853   -0.11023  0.00000 ] +/- [ 0.19041   6.62915   0.00169   0.00342  0.00000 ]

Pixel error:          err = [ 1.65362   1.64747 ]