A brief technical overview of Flexible Camera Calibration

12 images of the pattern file with different angles, rotations and tilts are taken, shown as below.

Then grid corners are manually extracted:

Begin the calibration:

According to the paper, the tool first runs the initialization based on the closed-form solution, then it provides optimization using maximum likelihood estimation. The errors are quite big at this stage.

The extrinsic parameters of the camera-centered view:

I tried another round of recomputing corners and then re-calibrating. It can be observed that after recalibration, both uncertainty and errors significantly declined.

The updated extrinsic paramters of the camera-centered view:

The calibration results after recomputing corners:

Calibration results after optimization (with uncertainties):

Focal Length:          fc = [ 9306.23266   7476.69010 ] +/- [ 123.85279   80.13645 ]

Principal point:       cc = [ 2015.50000   1511.50000 ] +/- [ 0.00000   0.00000 ]

Skew:             alpha_c = [ 0.00000 ] +/- [ 0.00000  ]   => angle of pixel axes = 90.00000 +/- 0.00000 degrees

Distortion:            kc = [ -2.44052   37.64722   -0.01853   -0.11023  0.00000 ] +/- [ 0.19041   6.62915   0.00169   0.00342  0.00000 ]

Pixel error:          err = [ 1.65362   1.64747 ]